                                                                 6 

University of Illinois

Institute for Genomic Biology
Chemical

Hygiene

Plan

Table of Contents
I.

Introduction – Policy and Purpose

II.

Responsibilities

III.

Standard Operating Procedures


A.

General Guidelines for Working in a Laboratory


  1.

Protection Against Skin /Eye Contact Hazards



  2.

Protection Against Ingestion /Inhalation Hazards



  3.

Good Perception of Surroundings



  4.

Good Housekeeping Rules



  5.

Safety Equipment and Procedures



  6.

Proper Conduct



  7.

Sinks



  8.

Unattended Experiments



  9.

Transfer of Chemicals



10.

Flammable Liquids and Open Flames



11.

Children and Unauthorized Persons



12.

Reproductive Health and Pregnancy Safety



13.

Signage



14.

Personal and Building Security



15.

Biological Materials



16.

Radioactive Materials



17.

X-Ray Safety



18.

High Magnetic Fields



19.

Constant Temperature Room Safety


B.

Guidelines for Handling Equipment and Apparatuses



  1.

Equipment Condition


  2.

Equipment Access


  3.

Blast Shields and Implosion/Explosion Hazards


  4.

Catch Pans



  5.

Compressed Gas Cylinders



  6.

Dewar Flasks


  7.

Electrical Equipment


  8.

Vacuum Systems


  9.

Flooding


10.

Chemical Fume Hoods


11.

Glassware


12.

Heating Cautions


13.

Heating Mantles


14.

High Voltage and/or High Current Equipment



15.

Lasers

C.

Guidelines for Hazardous Material Handling and Storage



  1.

Working Alone with Hazardous Materials


  2.

Container Labels


  3.

Drying Ethers


  4.

Mercury


  5.

Perchloric Acid


  6.

Peroxidizable Compounds


  7.

Mal-odorous Compounds


  8.

Noxious Gases


  9.

Personal Protective Equipment (PPE)


10.

Minimization of Hazardous Waste


11.

Chemical Storage


12.

Chemical Waste Disposal


13.

Working with Methylene Chloride or Dicloromethane (DCM)
D.

Guidelines for Emergency Procedures



Overview




Emergency Situations


  1.

Alert Other People Immediately


  2.

Injuries


  3.

Serious Wounds


  4.

Small Burns


  5.

Inhalation of Noxious Gases 


  6.

Ingestion of Poisonous Chemicals


  7.

Skin Contact with Aggressive Chemicals


  8.

Eye Contact with Laboratory Chemicals


  9.

Bloodborne Pathogens


10.

Accident Reporting


11.

Mercury Spills and Cleanup


12.

Chemical Spill Cleanup



13.

Fire


14.

Tornado
E.

Emergency Equipment



  1.

Safety Showers and Eyewashes


  2.

Fire Alarms



  3.

Fire Extinguishers



  4.

First Aid Kits

F.

Carcinogens, Reproductive Toxins and Acutely Toxic Chemicals 
G. Employee Information and Training
H. IGB Links and Contacts Page
I.   Introduction - Policy and Purpose

The Occupational Safety and Health Administration (OSHA) Laboratory Standard (29 CFR 1910.1450) was established to protect laboratory workers from harmful exposures to hazardous chemicals.  All laboratories in which chemicals are used are covered by this Standard.  In Illinois, the Standard is enforced by the Illinois Department of Labor (IDOL).  The University of Illinois at Urbana-Champaign (Illinois) Division of Research Safety has coordinated the development of the campus OSHA Laboratory Standard Compliance Program to ensure campus compliance with this Standard.  One element of the compliance program is the development of a Chemical Hygiene Plan (CHP).  The CHP for the Institute for Genomic Biology (IGB) includes many of the elements developed by the School of Chemical Sciences for its CHP and has adapted some of those elements and added other elements specific for the IGB.
The purpose of this Chemical Hygiene Plan is to define work practices and procedures to help ensure that laboratory workers at the Institute for Genomic Biology are protected from health hazards associated with the hazardous chemicals with which they work.  

OSHA has defined a hazardous chemical as "a chemical for which there is statistically significant evidence based on at least one study conducted in accordance with established scientific principles that acute or chronic health effects may occur in exposed employees."  In addition, OSHA defines a laboratory as "a workplace where relatively small quantities of hazardous chemicals are used on a non-production basis."  Finally, laboratory workers are defined in the OSHA Lab Standard under the definition of "employee" as "an individual employed in a laboratory workplace who may be exposed to hazardous chemicals in the course of his or her assignments."  An example of a laboratory worker would be a University teaching assistant or faculty member instructing an academic lab; the students in the academic laboratory would not be considered laboratory workers. This Chemical Hygiene Plan shall be perused by all laboratory workers prior to the commencement of lab duties at the Institute for Genomic Biology.   In addition to the Plan, the laboratory workers shall be cognizant of and adhere to the Campus Administrative Manual (CAM) Section V/B "Environmental Health and Safety" (refer to links/contacts page for web link to Section V/B) and any other sections of the CAM relevant to their research. 
In addition to the formal health and safety policies found in the CAM, the Division of Research Safety (DRS) has prepared guidelines which represent prudent health and safety practices in a number of areas.  For the DRS website, refer to the links/contacts page. 

A written record stating that each laboratory worker has reviewed the IGB Chemical Hygiene Plan and related health and safety policies and guides shall be kept by the secretary responsible for theme safety records.  This Chemical Hygiene Plan will be reviewed annually by IGB Safety Personnel and any changes approved by the IGB Safety Committee.
A current version of this document and various other resources made available to facilitate your safety, security and efficiency at the IGB are provided on the IGB Web site Safety Page (see links/contacts page for web link).
II.   Responsibilities
IGB Safety Committee
· Consider, review and develop, as needed, policies and procedures related to IGB safety and compliance.

· Review, as appropriate, fire and other emergency responses to the IGB and incidents and accidents occurring in IGB space.

· Review, as required, IGB safety documents that have mandated review requirements

· Assist in the oversight of safety and compliance as needed within themes.

· Make recommendations to the IGB Director and the campus

PIs and Core Facilities Supervisors:
· Retain responsibility for safety as outlined in the campus administrative manual
· Ensure that laboratory workers comply with the Plan

· Train or arrange for training of laboratory workers and ensure that records documenting such training are provided to the secretary  oer theme safety coordinator responsible for maintaining theme safety records
· Approve of the acquisition and use of toxic chemical agents 

· Implement and enforce the use of safety procedures including any necessary personal protective equipment

· Ensure the availability of Material Safety Data Sheets and relevant reference materials
Theme Safety Coordinators and Alternate Safety Coordinators: 
· Provide general oversight over the theme Chemical Hygiene Plan 

· Serve as a liaison between PIs, group members, and IGB Safety Personnel

· Assist in safety inspection of group research labs, distribute inspection results, and coordinate the abatement of safety violations

· Assist PI and IGB Safety Personnel in contingency planning for safety aspects of emergency and non-emergency situations

· Oversee and coordinate general safety and housekeeping practices for group laboratories

For a complete list of Theme Safety Coordinator responsibilities consult the IGB Safety Manual, which is available on the IGB Web site Safety Page (see links/contacts page at the end of the document).

Theme Secretaries

· Maintain records of signoffs that laboratory workers have read and understand the requirements of the  Chemical Hygiene Plan 

· Maintain records of signoffs that faculty retain responsibility for safety within their research groups

Laboratory Workers: 

· Follow all health and safety procedures

· Report all hazardous conditions to the supervisor

· Wear or use prescribed personal protective equipment

· Report any job-related injuries or illnesses to supervisor immediately

· Request information or training when unsure about how to handle a hazardous chemical

The Division of Research Safety (DRS):
· Maintain a library (hard and online versions) of Material Safety Data Sheets and other safety resources

· Maintain the UIUC Chemical Safety Guide
· Maintain the UIUC Model Chemical Hygiene Plan
· Provide training and consultative services upon request

Campus safety policies, including responsibilities, can be found in the Campus Administrative Manual (CAM).  See links/contacts page for the CAM website.
For a list of IGB Safety personnel and responsibilities refer to the IGB Web site Safety Page (see links/contacts page at the end of the document),
III.   Standard Operating Procedures
The Chemical Hygiene Plan represents a minimum set of guidelines for the handling of chemicals in the IGB.  This plan has been modified from the UIUC’s Model Plan as required.   Additional acceptable lab safety references may be useful in developing additional procedures in the future.  In all situations, individual faculty or staff will be responsible for enforcing adequate safety and hygiene measures in laboratories they supervise.  If necessary, additional assistance from the Division of Research Safety (DRS) is available.

This Chemical Hygiene Plan is tailored specifically for the Institute for Genomic Biology.  This document is to suffice as a general document only.  Specific hazards should be addressed in additional materials.
A.   General Guidelines for Working in a Laboratory
Research laboratories present a multitude of hazards.  Personal safety and the safety of those around you are of paramount concern.  All work should be performed with safety as the primary factor.  Skin and eye contact, ingestion, and inhalation are the three major entry routes for a chemical to enter the body.  Types of controls for prevention of these various routes of entry include:  good work practices, engineering controls, personal protective equipment, and administrative controls.  Personal protective equipment must be used in conjunction with, not as substitute, for the controls mentioned above and/or good work practices.  
1.       Protection Against Skin/Eye Contact Hazards
Protect yourself against potential injury while in the laboratory.  Respect and understand the safety and health hazards associated with the chemicals and equipment in your laboratory.  Follow the safety guidelines provided.

a.       Eye protection
      
General

Eye protection is required equipment and must be worn at all times where eye hazards are a possibility, regardless of whether or not you are actually doing an experiment.  Prescription eyeglasses (even with safety lenses) do not provide adequate eye protection from chemical splash hazards, especially from the sides.
If wearing contact lenses in a research laboratory, appropriate eye protection must also be worn.  It has been determined that wearing contact lenses in the lab does not present any greater risk than the naked eye.  Contact lenses do not provide any protection from chemical splashing.  Therefore, eye protection must be worn.  When use of the eyewash is necessary, contact lenses must be removed since they prevent adequate and thorough flushing of chemicals from the eyes.  It is advisable to inform coworkers that you wear contact lenses.  This will help insure that proper safety measures can be taken in the event of an emergency. 
For the IGB 109, 2200 and 3200 lab spaces

Eye protection must be worn at all times while working at a lab bench the only time you do not have to wear safety glasses are at your desk and your desk is isolated from the active research areas of the lab. The minimum eye protection constitutes ANSI Z87.1 certified safety glasses. Regular prescription glasses are NOT safety glasses and do NOT serve as eye protection.  Certified prescription safety glasses can be provided if needed.  Contact you lab manager for details and to place an order for prescription safety glasses.
1)   Full Face Shield or Blast Shield
Full face shields that provide protection to the full face and neck should be worn in conjunction with chemical splash goggles or safety glasses, when the potential for implosion/explosion, and/or splashing is great.
2)      Chemical Splash Goggles
Chemical Splash Goggles provide comprehensive eye protection against splashing and flying debris.  Goggles should be worn when a significant eye exposure hazard is anticipated and are preferred over safety glasses in all instances.  When choosing Chemical Splash Goggles, indirectly vented goggles should be worn.
3)  Safety Glasses

Safety Glasses with side shields provide minimal acceptable protection for regular use.  Safety Glasses must meet the ANSI standard Z87.1-2003.
4)   Safety Glasses for Optical Light Hazards
Specific types of eye protection are available for optical light hazards.  Laser light can be blocked with specially designed goggles which absorb at specific wavelengths.  Specific goggles are designed for each type of laser.  Plastic safety glasses protect at longer wavelengths and are preferred.  Appropriate optical safety glasses should be used for other high intensity light sources.
b.      Skin Protection
1)      Appropriate Clothing and Attire
Proper attire for the laboratory provides some protection to the body.  Wear clothing that will adequately cover the torso and legs.  Loose clothing should not be worn as it could easily become caught in machinery, come in contact with chemicals, and/or catch on fire.  Long hair should be tied back for the same reasons.  Do not wear skimpy clothing as it provides very little protection against chemical spills or splashes.  Do not wear hosiery as it will “melt” upon contact with acid and some chemicals.  Always wear shoes that completely cover your entire foot.  A lab coat or apron should be worn for additional protection.  Lab coats or aprons should be removed prior to exiting the laboratory.  Lab coats should also be routinely laundered (minimum of twice per year).
2)      Gloves
a)      Chemical Hazards
Always wear protective gloves when working with chemical hazards.  The proper gloves will prevent skin absorption, infection or burns due to chemical exposure.  NITRILE ® disposable gloves provide the best all around chemical protection for disposable gloves, while latex surgical gloves provide little to no protection from most chemicals.  If latex gloves come in contact with chemicals, they should be replaced immediately.  Remove gloves prior to handling water/utility/door handles, or other surfaces likely to be touched with bare hands, to avoid contamination.  Disposable gloves may not be re-used, even if holes or tears are not present.
For appropriate glove selection, consult chemical resistance charts, the glove manufacturer, IGB Safety Personnel, or contact DRS.

b)      Broken Glassware/Glassware Under Strain
Always wear leather gloves when working with either broken glassware and/or glassware that is under strain (e.g., pressure vessels, tubing being inserted into stoppers, etc.).  Note:  Leather gloves do not provide protection from chemicals.

c)      Temperature Extremes
Always wear insulated gloves made of Zetex( and Kevlar( when working with temperature extremes (hot or cold).  Loose fitting gloves should be worn when working with liquid nitrogen so that they can be easily thrown off if needed.  Note:  Insulated gloves do not provide protection from chemicals.

 2.       Protection Against Ingestion/Inhalation Hazards
Inhalation of chemicals is the most common route of entry a chemical can take to enter the body.  To avoid significant inhalation exposures, engineering controls such as substituting a less volatile or less toxic chemical or substituting a liquid or solid chemical for a gaseous one are the best means of control.  If substitution is not practical, ventilation should be used to lessen the chance of overexposure (see section III, B, part 10, Chemical Fume Hoods).  If both substitution and ventilation are unavailable, the use of personal protective equipment, such as dust masks or respirators, may be required to reduce inhalation exposures.  Prior to wearing a respirator, laboratory employees must be trained on the proper use of respirators, have medical surveillance to ensure the user is capable of wearing a respirator, and a fit test to ensure the respirator fits properly.  Contact IGB Safety Personnel if respiratory protection is required.  While inhalation is the most common route of entry, ingestion of chemicals is also a possible route of entry into the body.  Prevention of accidental ingestion of chemicals includes; washing hands thoroughly, the use of gloves, and eating in a non-chemical area.
a.       Smoking, Food, and Drink Regulations
Never smoke, eat, or drink in the laboratory.  In the IGB, this includes at the desk areas in the theme labs.  Airborne powders/sprays/vapors, as well as residues on surfaces, can contaminate food and drink.  Accidental ingestion of hazardous chemicals can result due to this contamination. 

Smoking on the UIUC campus is prohibited.  Cigarettes are not only a fire hazard but can result in harmful vapors being inhaled.  Some freons will generate phosgene gas when they pass through the lit tip of a cigarette.

Application of cosmetics is forbidden in areas where hazardous chemicals are used and shall be done only in non-laboratory areas.
Taking medications in the laboratory is also forbidden and shall be done only in non-laboratory areas.
NOTE: Be sure to maintain food for human consumption and laboratory chemicals segregated, providing separate refrigerators for storing food away from chemicals, biohazards and radioactive materials.  Clearly label all chemical refrigerators (FOR CHEMICAL USE ONLY) and food storage refrigerators (FOR FOOD USE ONLY).
b.      Pipetting Regulations
Never pipette by mouth.  This is extremely hazardous both from the possibility of exposure by drawing liquids into the body and from drawing vapors into the mouth and lungs.

c.       Personal Hygiene
Personal hygiene must be stressed.  Hands should be washed frequently throughout the day, before leaving the lab, after contact with any hazardous material, before eating, etc.

 3.       Good Perception of Surroundings
A good perception of your surroundings is very important in a research laboratory.  Be aware of your actions as well as those of your coworkers.  Immediately warn your coworker if you see him/her doing something dangerous.  Do not hesitate to ask your coworker, advisor or Theme Safety Coordinator for guidance with using laboratory equipment or for advice on safety matters.  Please respect the fact that others must use common laboratory equipment.   Take care of this equipment and clean up common areas immediately.

 4.       Good Housekeeping Rules
a.       Label all containers.  

Containers must be labeled with:
1)      Full, common name of the chemical

2)      Date first labeled

3)      Owner’s Name
· If unable to fit this onto the label, a secondary container (i.e. tray) may provide some of this information.
b.      Wipe up all spills.
c.       Maintain your bench tops, chemical fume hoods and biological safety cabinets free of clutter.
d.      Maintain chemical hazards at least 2” from the edge of bench tops.
e.       Maintain exits, aisles and safety equipment free of all obstructions.
Aisles within the laboratory should be as required by the campus code compliance officer.  Hallways are not to be used as storage areas.  Refer to Campus Administrative Manual (CAM) V/B - 6.2, Departmental Use of Corridors for more information.  No items shall be stored in the corridors..  Work areas and floors are not to be used for excessive storage as well.
 5.       Safety Equipment and Procedures
Familiarize yourself with the safety equipment and procedures in the lab.  Everyone is expected to know where the fire alarm pull stations, safety showers, eyewashes, spill clean-up kits, first aid kits and emergency exits are located.

 6.       Proper Conduct
Do not condone or participate in horseplay.  Practical jokes or other behavior that might confuse, startle, or distract another worker are forbidden.

 7.       Sinks
Do not subject sinks to extreme changes in temperature.  While most laboratory sinks are constructed of a pressed fibrous material that is quite inert chemically, they are subject to mechanical damage due to their glass-like properties.  Due to a fairly high thermal coefficient of expansion, sinks can crack when they come in contact with extremely hot or cold substances.

 8.       Unattended Experiments
Leaving hazardous systems unattended, without proper fail safes installed (regulators, automatic shut-offs, etc.), is not good practice.  Use caution and adequate labeling if leaving experiments unattended.

 9.       Transfer of Chemicals
Never pour chemicals directly from storage containers into your reaction vessel.  The use of an intermediate instrument such as a graduated cylinder, beaker, or pipette prevents unwanted chemical reactions or overfilling of vessels from occurring.
10.      Flammable Liquids and Open Flames
Never use an open flame in the vicinity of flammable liquids.

11.      Children and Unauthorized Persons
Children and unauthorized persons (unless under direct supervision) are not to be in laboratories where hazardous substances or operations are present.
    12.   Reproductive Health and Pregnancy Safety
Please be aware that risks and hazards are commonplace within the IGB facilities and that you are a critical component in safeguarding your reproductive health, which applies to both men and women. In addition, laboratory workers who are pregnant or attempting to become pregnant need to take extra precautions to promote the best possible outcome of the pregnancy.  The following guidelines are highly recommended to protect you and the developing embryo or fetus:

· Consult with your personal physician about your work conditions and activities in order to plan a safe course of action pre-conception, during pregnancy and post-partum.  Any restrictions placed by the physician should be brought to the attention of the principal investigator or laboratory supervisor and IGB Safety Personnel immediately.  

· Clear communication and cooperation among the laboratory worker, the principal investigator or laboratory supervisor, and IGB Safety Personnel are necessary to conduct a thorough hazard assessment of laboratory operations and conditions, which may put the developing embryo or fetus at risk.  In cases where a pregnancy is planned, the laboratory worker should initiate the hazard assessment prior to conception because certain chemical exposures may affect fertility success or critical fetal development in the earliest stages.   

· In addition, this same group (worker, supervisor and safety personnel) needs to work together in developing a plan and finding creative solutions to ensure a safe work environment during the pregnancy.  In some cases, work activities and conditions may need to be modified - such as working in a separate laboratory, substituting extremely hazardous reagents with less harmful ones, or focusing on a different aspect of research.

· For the health of the developing embryo or fetus, the pregnant individual and laboratory co-workers must strictly adhere to the safety guidelines in this Chemical Hygiene Plan.  Give special attention to section F, “Carcinogens, Reproductive Toxins and Acutely Toxic Chemicals.”  

Any other safety concerns should be discussed with the laboratory supervisor and IGB Safety Personnel.  If you feel that your concerns are not adequately addressed, please contact your Theme Leader.
13.       Signage
Laboratories where hazardous materials or operations are present must follow UIUC signage guidelines.  An emergency contact card must be posted on or near each entrance of the laboratory and support corridors in provided 3-slot signage holders.  This card must be updated annually or when contact information changes.  A recommended form with the information needed by emergency responders is available from IGB Safety Personnel.  For other information on laboratory and general campus signage, refer to Interior Signage Guidelines, UIUC, which is available from Facilities and Services.
14.       Personal and Building Security
a.       Personal Security
Personnel working late at night are discouraged from working alone and are strongly advised to keep their work area locked.  Utilize caution on admitting anyone into your work area if alone or when in transit between destinations.  Escort services are available.  Contact IGB Safety Personnel for further information or consult the links/contacts page at the end of this document.
b.      Building Security
IGB building entrances.are locked per the schedule in the IGB information Manual.
    15.   Biological Materials
Work with biological materials such as cells, pathogens, and proteins, etc. may require permitting through the Institutional Biosafety Committee.  If a research group encounters these or other materials listed below, requirements listed in the following sections may be required. 
a.
Biological Safety Levels

Four Biosafety Levels, also known as containment categories, have been established by the Centers for Disease Control (CDC).  The biosafety levels describe a set of safety practices and physical containment guidelines.  BSL-1 is the minimum level for all labs using biological material, including teaching labs.  BSL-1 is suitable for work involving well-characterized agents not known to cause disease in healthy adult humans or animals, and of minimal potential hazard to laboratory personnel and the environment.  BSL-2 is similar to BSL-1, however, work with BL2 materials requires more specialized training and more specific safety equipment requirements.  Also, more focus is placed upon restricting access to BSL-2 labs.  BSL2 labs must be specially inspected and have signs posted on the lab entrance doors identifying the biosafety level, the hazard, access restrictions, and emergency contact information. The sign will also include the International Biohazard Symbol which alerts individuals to the presence of biohazards.  Currently no labs at Illinois work above the BSL-2 level.  BSL-3 involves agents with the potential for aerosol transmission that may have serious health ramifications.  BSL-4 involves dangerous/exotic agents which pose a high risk of life-threatening disease.

b.
Biological Project Registration

Work with certain biological materials requires the project to be registered with the Institutional Biosafety Committee (IBC).  The Institutional Biosafety Committee oversees the biological work and permitting for the University of Illinois at Urbana-Champaign, as required by the NIH guidelines. The committee is advisory on matters relating to the safe handling, transport, use and disposal of biological materials, including recombinant DNA molecules.  Work done with any of the following biological materials must be registered with the IBC:
· Human materials (e.g., human cell lines; blood or blood products; semen or vaginal secretions; fluids surrounding internal organs, the joints or a fetus; any body fluids contaminated with visible blood; any tissues) 

· Any plant, animal or human pathogen 

· Transgenic animals (use or creation) 

· Transgenic plants 

· Nonhuman primate materials 

· Biotoxins 

· Wild mammal materials 

· Recombinant DNA (even work that is exempt from the NIH Guidelines must be registered) 

For more information on biological projects or to gain access to biological project registration forms, see the links/contacts page.
c.
Minimum Biological Lab Working Requirements

Labs working with biological materials should, at the minimum, include: bench tops that are impervious to water, sinks for hand washing, door access, and work surfaces, including chairs, that can easily be decontaminated.  In addition labs that perform microbial decontamination of work surfaces should prepare fresh bleach solutions on a daily basis.  These solutions should contain 1 part bleach to 9 parts water and should have 30 minutes of contact time with the items being decontaminated.

d.
Biological Safety Cabinets and Clean Air Benches

Biological Safety Cabinets (BSCs) use HEPA filtration and directed airflow to provide primary containment for work with infectious materials.  BSCs also protect personnel and the surrounding environment from infectious aerosols, create a contaminant-free work zone for the experiment, and are generally required for work at BL2 and higher.  BSCs should never contain volatile chemicals or be used interchangeably with a chemical fume hood, due to the fact that BSCs are generally vented directly back into the laboratory and do not filter out chemical vapors.  Gas lines and open flames should not be used in recirculating BSCs.  BSCs must be inspected and certified by a professional cabinet certifier at the time of installation, annually after initial installation, and any time the unit is moved.  The IGB Safety Coordinator coordinates the recertifications of all BSCS in the IGB. Horizontal laminar flow “clean air benches” are different from BSCs.  They discharge HEPA filtered air across the work surface and out the front of the cabinet, directly toward the user.  They provide product protection only.  Clean Air Benches should never be used when handling potentially infectious materials or as a substitute for a Biological Safety Cabinet.
e.
Biohazard Waste

1)
SHARPS

SHARPS, including but not limited to, syringes with or without needles, razor blades, and pasteur pipettes, require disposal in a sharps container.  These containers are available for free from campus stores.  To request pick up of full sharps containers, go to the DRS website (see links/contacts page) and complete the online Sharps Collection Request Form.

For further SHARPS information see Glassware, Section III, B,12.  For detailed information regarding SHARPS consult the links/contacts page.

2)
Other Biologically Contaminated Waste

Cultures, stocks, and disposable labware (not including sharps) that are generated from experiments with biological materials, must be treated prior to disposal by an approved decontamination method such as autoclaving.  Disposal guidelines include:  

· collect the waste in a designated, closable container, separate from the regular trash

· the waste container must prominently display the international biohazard symbol

· after autoclaving or other approved decontamination method, material must be overbagged with an opaque trash bag, sealed, and disposed of in the regular trash

NOTE:  Bags with the biohazard symbol, regardless of use, must not be placed, without overbagging, in the regular garbage.

Other decontamination methods exist (e.g. decontamination by bleach, ethanol, etc.).  Autoclaving may not always be a suitable decontamination method.  Consult with the Biological Safety Section (see links/contacts page) concerning the appropriate use of alternate decontamination procedures.
For more detailed biohazard waste procedures or for pathological waste (including human tissue and organs) disposal procedures, contact IGB Safety Personnel for assistance.

     16.   Radioactive Materials
Prior to working with radioactivity, laboratories must be permitted and registered as outlined below.  Working with radioactivity can be hazardous and safety precautions should be followed.

a.
Permitting

Laboratories must obtain a Radiation Permit before using radioactive materials.  The permit outlines lab specific requirements.  For more information on obtaining a permit, contact the Division of Research Safety, Radiation Safety Section (see links/contacts page) or IGB Safety Personnel.  

b.
Personal Protection
In order to avoid accidental ingestion, inhalation, or skin absorption of radioactive materials the same precautions used with hazardous chemicals should be applied when working with radioactive materials.  External exposure to energy emitted by radiation can be controlled by minimizing exposure time, maximizing distance from radiation sources, and the use of appropriate shielding.  Gloves should be checked frequently when working with radioactive materials to avoid cross contamination of other areas of the laboratory.  The workspace should also be lined with absorbent paper to avoid spreading the radioactive material to countertops, etc.

c.
Radiation Hazard Symbol

The radiation hazard symbol alerts others to the presence of radiation fields or radioactive materials.  This symbol should appear on all waste containers and items that may come in contact with radioactive material (benches, chemical fume hoods, shields, etc.).
d.
Radioactive Waste

Radioactive waste must be collected in designated containers, separate from normal trash.  Short and long-lived isotopes should be collected separately.  If radioactive waste is also contaminated with biological or chemical waste, contact IGB Safety Personnel for case specific disposal instructions.  In addition, contact IGB Safety Personnel for disposal instructions when dealing with radioactive SHARPS or non-SHARPS glassware.

e.
Radiation Record and Survey Requirements

Laboratories using radioactive materials are required to keep an inventory of all the radioisotopes received by the laboratory.  In addition, the laboratory must keep records of the quantities of radioactive materials used.  

When radioactive material is actively used, a survey of the area must be performed during the week in which the material is used.  The survey should be performed appropriate to the isotope used (i.e. swipe samples or the use of an instrument such as a Geiger counter).  Prior to the survey, instruments used to perform the survey should be checked/calibrated to ensure proper function.  Results of the survey should be recorded in the laboratory’s survey record.  
The monthly survey (which is required by the State of Illinois) of the entire laboratory space in which radioactive materials are used is performed by the Division of Research Safety.

For further information regarding radiation safety, consult the Radiation Safety Section website (see links/contacts page).

    17.
X-Ray Safety

X-ray machines are used on campus in many different locations for research and diagnosis.  It is very important that users of X-ray machines become familiar with their operating procedures and potential hazards before using the machines.  It is especially important to avoid any exposure to the main beam of the X-ray machine.
a.
X-Ray Machines Description

An X-ray machine produces a beam of ionizing radiation when operating.  These machines present no hazard when the power is off.  All X-ray machines have a light that indicates when the X-ray is ON.

b.
Signage

X-ray machines and signs should be posted with a sign or label indicating the presence of X-ray beams.  These signs should also include lab contact information and contact information for emergency response personnel, should an emergency arise.

c.
Safety Devices

Analytical X-ray machines used for research are surrounded by an enclosure to prevent personnel exposure and unauthorized entry.  Areas around enclosed X-ray devices may be accessed safely.  Most X-ray machines have an interlocking device that prevents entry of limbs, fingers, hands, etc. into the primary beam path or causes the beam to be shut off upon entry into its path.  Operators must perform and document monthly checks of these interlocks.  If you must enter an X-ray room and an operator is not present, stay outside of the X-ray enclosure.  Do not disturb any settings on the X-ray machine.
    18.
High Magnetic Fields
High magnetic fields, such as those from NMR and MRI machines, can cause possible injury to individuals working in the vicinity of these instruments.  Users should be aware of the potential risks prior to using these types of instruments.

a.
Magnetic (Ferrous) Objects

Magnetic (ferrous) objects should typically not be taken close (5-10 feet, depending on the magnet) to a high magnetic field.  Of particular danger is the potential for tools and small objects to move uncontrollably towards the magnet.  This can pose a risk to anyone or anything in the object’s flight path.  Thus, tools, certain ladders, keys, and any other small ferrous objects should not be taken near a high magnetic field.  High magnetic fields can also cause permanent damage to watches, calculators, credit cards, cell phones, magnetic media (should not be taken inside the 20 gauss line), and other electrical equipment.  These items should be removed from pockets, etc. before entering an area with a NMR or MRI instrument.  Assume any piece of metal is magnetic unless proven otherwise.  For more specific information concerning what types of objects should not be taken near a NMR instrument, contact the staff responsible for the magnet.

b.
Pacemakers and Medical Implants

Individuals with cardiac pacemakers should not cross the 5 gauss line of a high magnetic field.  (The 5 gauss line describes the distance from the center of the magnet to where a field strength of 5 gauss is experienced.  If you are not sure where the 5 gauss line is located, consult with the SCS VOICE NMR Staff.)  High magnetic fields could cause the pacemaker to function improperly or to stop working altogether.  Individuals with other types of medical implants including clips and prostheses that contain ferromagnetic materials should not enter areas containing high magnetic fields.  If uncertain about whether it is safe to use a NMR instrument due to medical devices/implants contact the SCS VOICE NMR Staff.

c.
Magnet Quenching
In the unlikely event of the magnet quenching (sudden release of gas from the dewar), personnel should evacuate the area due to the possible risk of asphyxiation.  A quench warranting evacuation would most likely be obvious by the noise of the escaping gas and clouds of vapor.
    19. 
Constant Temperature Room Safety
Personnel working in constant temperature rooms must always be especially cautious when working with chemicals.  Due to the fact that constant temperature rooms are unventilated, enclosed areas, no hazardous chemical reactions should be performed.  In addition, no volatile chemicals (even those in closed containers) should be brought into the constant temperature rooms.  If these chemical containers were to break, toxic vapors would be released into the unventilated atmosphere.  Constant temperature room users should also note the condition of the floor prior to entering the constant temperature rooms.  Floors in these rooms can be slippery if wet.  It is also important to dress appropriate to temperature and duration of exposure.  
a.
Storage Requirements

All containers must be sealed by an appropriate method (caps, parafilm, Teflon tape, polyethylene tape, electrical tape, etc.) that will stop vapors and odors from escaping.  (This is especially important to F&S maintenance personnel).  All containers, trays, etc. must be labeled with the chemical name (and any hazard information if greater than 100mL or 100g), contact person, advisor, and date stored.  NOTE:  containers in cold rooms may get wet, so the use of cardboard containers and/or water soluble markers is not recommended.

B.   Guidelines for Handling Equipment and Apparatuses

 1.       Equipment Condition
All equipment should be in proper working condition.  In particular, never use chipped or cracked glassware.

 2.       Equipment Access
All apparatuses should be securely mounted, where required, and free of strain.  Heating mantles, oil baths, etc., must be readily accessible and quickly removable.  Power cords and rubber hoses should be kept at a safe distance from hot surfaces.

 3.       Blast Shields and Explosion/Implosion Hazards
Blast shields should be used when working with pressurized equipment or reactions that are known or suspected to be potential explosion/implosion hazards.  Blast shields are a necessary supplement to the blast protection offered by the chemical fume hood design.  Hood sashes are made of laminated safety glass to be blast resistant.
 4.       Catch Pans
Catch pans should be placed under reaction systems.   In the event that a reaction should get out of control, or the container should accidentally break, the reactants and solvents will be contained and reaction materials may be easily recovered.  If a fire is present, the catch pan may prevent spreading of the fire.

 5.       Compressed Gas Cylinders
Compressed gas cylinders pose a significant hazard in the laboratory.  Precautions to prevent injury when working with compressed gas cylinders include: 

1. Firmly securing cylinders at all times with a belt or chain to a stable object such as a wall, bench, or table. 
2. Use an appropriate hand cart with a strap for moving cylinders (4 wheel cart preferred).

3. Cylinders must be CAPPED during movement.
4. Cylinders should be kept away from sources of heat or ignition.

5. Store cylinders in well-ventilated areas with their protective caps screwed on and the cylinder secured.   
6. Do not store cylinders containing flammables and oxidizers in the same area.  
7. Segregate empty and full cylinders while in storage.  .
Lecture bottles must be labeled properly and if empty, marked either “empty” or “MT”.  For disposal use ChemTrak form 1 and Appendix C of the UIUC Chemical Waste Management Guide (see links/contacts page).
 6.      Dewar Flasks
Due to Dewar Flasks being continually under vacuum, they pose an implosion hazard.  Dewar Flasks present an implosion hazard with the potential of abruptly releasing glass shrapnel and the contents of the container and must have shielding and be handled carefully.  For questions on vacuum shielding , contact IGB safety personnel.
  7.      Electrical Equipment
Access to electrical panels must be maintained free from obstructions to allow immediate access in an emergency.  All receptacle outlets in laboratory spaces are the polarized grounding type (three prong). Ground Fault Circuit Interrupters (GFCIs) should be used in all outlets within six feet of locations involving wet processes or outdoor work.  All electrical hand tools used inside laboratories shall be grounded or double insulated.

a.       Repairs
Use the following procedures to safely repair electrical equipment:
1) Turn off the equipment but leave it plugged in for a few seconds so that the internal capacitor has time to discharge to ground potential.  
2) Unplug the equipment from the outlet.  
3) If you are not well versed in electronics or if no instruction manual is available, have the device repaired in the electronics shop or by an electronics shop technician.  
4) Do not replace blown fuses with fuses of higher ratings.  Determine why the fuse blew and correct the problem before replacing with the proper fuse. 
5) If you are working on any apparatus that is or was capable of producing high currents or high voltages, assume that the voltage is still resident within the device when probing for problems.  Never have more than one hand in the apparatus, keeping the other hand in your pocket.  
6) Do not use a standard voltmeter with standard leads to measure high voltages because the voltmeter could explode.

b.      Extension Cords
1)      Usage
Electrical extension cords should only be used for temporary power or to supply equipment that is frequently moved. Extension cords should not be used as substitution for permanently installed outlets. Cords used for 110-120 volt service shall be UL listed standard heavy-duty three wire equipped with a polarized three-prong plug. One of the wires shall be an equipment-grounding conductor.  In no case shall a two-wire type extension cord be used.

Frayed cords must be replaced.  Simply putting electrical tape over the damaged area is not an acceptable long-term solution.

Extension Cords must be of appropriate length.  Excessive lengths of coiled cord or inadequate conductor sizing can result in resistive heating.  This may create a fire hazard and/or be detrimental to your equipment.

Power strips may not be daisy-chained together (i.e. plugged into another power strip).  
2)      Location
All electrical extension cords used shall be visible and inspected on a periodic basis for damage and/or defects.  Cords may not be run through doors, walls or partitions, under rugs or above dropped ceilings.  They may not be wrapped around fixtures, tied in knots, or draped over pipes, lights, or ventilation ductwork.  Cords may not be run in aisles or corridors where they could be damaged or create a tripping hazard.

8.       Vacuum Systems
Evacuated glassware poses a significant implosion hazard, which includes the potential of abruptly releasing glass shrapnel and the contents of the container.

a.       Desiccators
Utmost caution is to be employed when evacuating desiccators.  Inspect for defects/cracks and discard if any are found.  Implosion protection must be provided without impairing visual inspection. This is often accomplished by wrapping with tape in a grid pattern that leaves the contents visible while guarding against flying glass should the vessel implode.  Handle cautiously.

b.      Flasks
Never evacuate ordinary non-vacuum flasks, especially those with flat surfaces.  Erlenmeyer flasks under vacuum pose a significant implosion hazard and should never be used on a rotovap or for evaporating chromatographic fractions.

c.       Rotovaps
1)      Implosion Protected
The body of a rotary evaporator needs to be implosion protected, without loss of visibility.  This can be accomplished by using a plastic encased flask, by wrapping with electrical tape in a grid pattern or by wrapping it with protective webbing designed for that purpose.
2)      Evaporation Containers
A one-liter flask is the largest that can be used effectively with most rotary evaporators.  Flasks larger than one-liter pose safety risks due to possible breakage of the neck of the flask, increased bumping of liquids, and the risk of spilling large quantities of chemicals due to the possibility of a poor vacuum.
d.      Water Aspirators
Glassware evacuated using water aspirators poses a significant implosion hazard.  Aspirators are a good vacuum source (achieving 30-40 mm Hg of vacuum) relative to atmospheric pressure (~760 mm Hg).  Therefore, care should be taken when evacuating glassware using water aspirators.

 9.       Flooding
Flooding from laboratory sinks and service connections has caused major damage to research equipment, furniture, and project records in the flooded areas and floors below.  In addition to physical damage, the standing water creates significant electrical shock and slip hazards.  The following measures can be taken to minimize the chance of flooding.
a.      Water Pressure Regulators
Use a water line with a regulator for all unattended water use.  Water pressure regulators in the laboratories greatly reduce the chance of flooding because they maintain a steady flow of water regardless of the changes in water pressure in the building.  To insure that the regulators will work properly when unattended:

1)
Ensure that the water valves in line with the regulators are fully open (this insures that the      regulators and NOT the valves are controlling the flow).

2)
Tighten down the wing nut on the “T” handles or screw to prevent loosening from vibration.
3) 
Occasionally flush debris from the regulators by momentarily increasing flow through them.  This can be accomplished by backing out the “T” handle or screw at the top of the regulator.
b.       Tubing
1)
Replace tubing before it becomes decomposed or brittle.  Check tubing occasionally by bending sharply and looking for cracks.
2)
Do NOT use pure gum rubber tubing for water lines.  Pure gum tubing is not designed to handle the pressures often found in building water systems.  Other more appropriate types of tubing such as Tygon are available in the SCS Storeroom or through various suppliers.
c.      Connections
1)      Secure all tubing connections with wire or clamps.
2)      Use locking quick disconnects where needed and secure non-locking quick disconnects with clips.

d.       Bench Top Vessels

When filling bench top vessels, place the receiving container into a sink-drained secondary container or tray.  Filling containers are sometimes forgotten, resulting in a significant flood.

   10.  
Chemical Fume Hoods
a.       Usage
Chemical fume hoods should be used when chemicals being handled have sufficient volatility to be hazardous or offensive if vented to the laboratory atmosphere. Highly toxic chemicals should only be used in a chemical fume hood. Highly toxic chemicals are those with a PEL (permissible exposure limit) of 50ppm or less. Chemical characteristics which should be considered are toxicity, flash point, flammability, and odor.  Contact IGB Safety Personnel for resources that contain PELs for most common laboratory chemicals.
b.      Sash
If possible, position the chemical fume hood sash so that work is performed by extending the arms under the sash, placing the head in front of the sash, and keeping the glass between the worker and the chemical source.   The worker views the procedure through the glass, which will act as a primary barrier if a spill, splash, or explosion should occur.  The hood sash should be maintained at the indicated mark for proper flow.  The sash should be closed when the chemical fume hood is not in use, to conserve energy.
c.       Chemical Fume Hood Working Space Guidelines
1)
Maintain all items in the hood at least six inches behind the sash opening to minimize turbulence that would degrade the operation of the hood.
2)
Place equipment as far to the back of the hood as practical without blocking the bottom baffle.
3)
Large equipment should not be used in chemical fume hoods.  Doing so may cause dead spaces in the airflow and reduce the efficiency of the hood. However, if it is necessary to place large equipment in a hood, the equipment can be placed on legs or blocks (min. of 2 inches high) to allow the proper flow of air under and around the equipment.  If placing large equipment in the hood contact IGB Safety Personnel to have the hood recertified.
4)
Avoid the use of hoods for storage.  If storage is necessary, locate material so as to minimize air flow disturbances.  Use of blocks to elevate equipment above the lower baffle air intake can significantly improve the hood’s air flow.  If placing storage items within the hood contact IGB Safety Personnel to have the hood recertified.
5)
Chemical fume hoods should not be modified in any way that adversely affects the hood performance.  If hood modifications are needed, please consult with IGB Safety Personnel.  Proper hood air flow must be verified with IGB Safety Personnel following any modification.   

6)
Do not utilize a chemical fume hood for waste disposal.

7)
If a chemical fume hood does not meet flow requirements, F&S will label accordingly.  If hood airflow stops, clearly label “out of commission” and report to IGB Safety Personnel. 

d.      Chemical Fume Hood Performance
The IGB chemical fume hoods and their related air-handling systems are designed to attain a face velocity of 100 linear feet per minute (lfpm) with a sash open to the latch position (18 inches).  Typically a range of 80-120 lfpm is acceptable for most uses.  Every hood should be labeled as to its operating air flow.  The Facilities and Services Division of Safety and Compliance surveys hoods annually to ensure proper air flow.  Tags will be affixed indicating proper sash height and flow rate.  A green tag indicates proper operation.  A caution sticker indicates that the hood should not be used for toxic chemicals..
1)
Verify airflow via the hood monitor PRIOR to starting experiments or commencing work.  Check air flow visually to assure that the hood is functioning adequately.
2)
Avoid opening and closing the chemical fume hood sash rapidly as well as swift arm and body movements in front of or inside the hood.  Such actions may increase turbulence and reduce the effectiveness of chemical fume hood containment.
3)
Check room conditions in front of the chemical fume hood prior to use.  Any cross drafts present may seriously degrade the performance of the hood.  Minimize cross drafts from open windows or from people walking by.
4)
Do not disable alarms.  Know what they mean, act on what they indicate, and report the discrepancy for corrective maintenance to IGB Safety Personnel.


e.    Biological Safety Cabinets



For Biological Safety Cabinet use and information refer to Biological Safety, section III, A, 15.
11.       Glassware
a.
Glass containers can be easily broken, resulting in a significant threat to life and property depending upon the contents, quantity, and location.  To minimize the chance of breaking glass bottles, store them properly and well protected if on the floor.  Secondary containment should be used to contain contents in the event of breakage.  Transport containers safely using a bottle carrier, or cart for multiple items, in the halls, stairwells, and elevators.  If transporting on a cart, ensure that the cart has side rails to prevent containers from sliding off and breaking.  In addition, minimize the size of your working containers and use proper protective gloves which do not hamper dexterity to prevent accidental breakage of glassware. 
b.
Glass tubing and thermometers present unique hazards.  When cutting, inserting, or removing glass tubes or thermometers into/from corks, rubber stoppers or hoses, always use protective gloves (see section III, A, 1).  Lubricate glass with glycerin or soap.  Moisten TYGON ® tubing with acetone.  All glass tubing must be fire polished at the ends.  
c.
Damaged, cracked, or chipped glassware should not be used.  Examine your glassware for “star” cracks.  Broken glassware should be replaced immediately.  Chipped or broken glassware can possibly be repaired by the Glass Shop located in Noyes Lab.  When handling broken glassware, be sure to use leather gloves and protective eyewear.  Do not handle broken glassware directly, but sweep into a dust pan or similar equipment.  See the table below for specific disposal methods.

	Type of glassware
	Type of Packaging
	Disposal Method

	Non contaminated lab glass
	Puncture proof packaging (box), sealed (taped), and labeled as “trash, broken glass”
	General trash

	Chemically contaminated lab glass
	Bagged, placed in puncture proof packaging (box), sealed (taped), and labeled as “chemically contaminated glass”
	Contact IGB Safety Personnel for disposal instructions

	Biologically contaminated lab glass*
	SHARPS container
	Contact DRS Biological Safety Section for disposal 


*Large biologically contaminated items can be packaged in a puncture proof box, sealed and labeled, and disposed of as a SHARPS container.
Non-broken glass containers can be triple rinsed, triple washed, marked “empty”, allowed to dry, and discarded in the general trash.
For additional information regarding SHARPS, consult the links/contacts page.
NOTE:  For information regarding radioactive SHARPS and glassware contaminated with radioactive 



material, contact IGB Safety Personnel for assistance.
12.
Heating Cautions
a.
Heat detectors in IGB labs are of the rate-of-rise type, meaning that they can be activated by a sudden increase in temperature.  Avoid accidental activations of the fire alarm system by keeping Bunsen burners, lab ovens and other heat sources out from under the detectors.

b.
Closed systems should not be heated.  Always ensure an adequate vent and use a boiling chip when heating any liquid, even water.  

c.
Flammable solvents should not be heated in an open container with a bunsen burner.  If a bunsen burner is to be used, make sure that your coworkers are not using flammable solvents.  When lighting a bunsen burner, light the match first, then turn on the gas while holding the match close to the top of the burner.  When work is completed, the bunsen burner should be turned off immediately.  Long hair and loose clothing pose significant hazards when using bunsen burners.
d.
Evacuated glassware should not be exposed to local overheating as it can weaken the glass and cause an implosion.

13. 
Heating Mantles
Heating mantles are not recommended for heating flasks which contain highly flammable solvents, heterogeneous mixtures, or a reaction where the temperature needs to be carefully controlled.  Heating mantles tend to form hot spots which can result in intense localized heating and/or fire.  Use of a stirred fluid bath with temperature control better regulates the temperature and eliminates the possibility of hot spots.  The size of the heating bath must correspond to the size of reaction vessel.  

14.
High Voltage and/or High Current Equipment
a.       Warning Signs
Equipment using high currents or high voltages must be labeled with a general warning of the dangers present.
Entrance doorways to rooms containing high voltage and/or high currant equipment should have warning signs indicating when the equipment is in use.
b.      Precautions
1)
For proper grounding, use a three prong plug, unless other grounding provisions are made and checked.
2)
Avoid becoming grounded by staying at least 6 feet away from all metal materials, walls, and water.
3)
While working with high voltage and/or high current equipment, only one hand should be used.  Keep the other hand at your side or in your pocket and away from all conducting materials.  Using this precaution prevents accidents which result in current passing through the chest cavity.

15.       Lasers
All class 3b and 4 lasers are required to be registered with DRS.  For more information contact IGB Safety Personnel or consult the links/contacts page at the end of this document for the laser registration form.
a.
Know the hazards associated with the laser(s) with which you are working.
b.
Warning signs should be posted at all entrance doorways to areas containing optical light hazards.  NOTE:  not all laser light or other potentially dangerous light can be seen by the human eye.
c.
Intense laser light paths should be marked.  Before adding or removing optical components, anticipate and examine projected light paths.
d.
Always wear specially designed protective glasses or goggles when working with optical light hazards.  Eyes and skin must be protected when operating open UV light sources (including UV absorbance, LC detector, and hollow cathode lamps).

e.
Reflective jewelry should be removed before working with lasers.   NOTE:  laser light reflected off a ring can permanently blind you.
f.
Laser beams should be kept at or below chest height.
C.   Guidelines for Hazardous Material Handling and Storage
Be aware of the specific hazards of the chemicals and equipment with which you are working.  You should become acquainted with the properties of every chemical you use and understand all terminology.  The Merck Index and other reference books, Material Safety Data Sheets (MSDSs), and compatibility charts are useful sources for finding hazard information.  Coworkers, research advisors, DRS, and IGB Safety Personnel are also respected sources.  Many hazards are outlined on the chemical container label.  All chemicals (including non-toxic chemicals) should be treated as though they were toxic.   
 1.  
Working Alone with Hazardous Materials       
Do not work alone when using hazardous materials.  A second person should be present, or at a minimum, maintain telephone contact.  Never work alone when working with high energy materials, high pressures, quick-acting/highly toxic materials (e.g., HCN), or transfer of flammable materials (except in small quantities), and when previous experience indicates the need for assistance.

 2.  
Container Labels       
Label all containers (including uncontaminated water) with the chemical name and appropriate hazards.  In addition, it is recommended to have a researcher name and date on the label.  Make sure all labels are legible and use common terms (no molecular diagrams).  Peroxidizable and other chemicals which may become unstable over time should be dated upon purchase and opening.

 3.  
Drying Ethers       
An acceptable means of drying ethers is the use of sodium/benzophenone.  In the past, a common laboratory method for drying ethers has been distillation from lithium aluminum hydride (LAH).  LAH is a serious fire hazard and should not be used to dry ethers.  It decomposes at ~125 (C which can be easily reached at a flask’s surface in a heating mantle.  The decomposition products of LAH can be quite explosive, especially when combined with CO2.  Therefore, use a Class D (Metal-X) fire extinguisher for fires involving LAH.  Do not use CO2 or bicarbonate (powder) extinguishers for these types of fires.
 4.  
Mercury       
Mercury (Hg) and mercury containing devices should be replaced with alternatives whenever possible. Mercury vapor is highly toxic. Due to mercury’s low vapor pressure, the evolution of mercury vapors is  especially of concern when the mercury is heated.  Furthermore, mercury spills are very difficult to clean up because Hg splashes into microscopic spheres, which roll into cracks and crevices where they cannot be easily seen or removed.  To reduce the chance of Hg spills, use a catch pan of appropriate size and depth under all mercury-containing equipment.  Use non-mercury thermometers whenever possible.  Never use a Hg thermometer in a heated oven.  Consult IGB Safety Personnel for assistance in finding mercury substitutes.
 5.  
Perchloric Acid       
Perchloric acid heated above ambient temperature will give off vapors that can condense and form explosive perchlorates.  When heating perchloric acid above ambient temperature, a perchloric acid chemical fume hood with a wash down system or a local scrubbing or trapping system must be used.  Consult IGB Safety Personnel before performing these operations.
 6.  
Peroxidizable Compounds      
Peroxidizable compounds present considerable hazards within the laboratory.  Commonly used solvents such as ether, dioxane, and THF can form explosive peroxides after exposure to air.  Hazards associated with peroxidizable compounds can be minimized in several ways.  Some peroxide formers sold through the SCS Storeroom are provided with a bright yellow label on which the initial date opened should be written.  Store peroxide formers in an obvious location where they will not be forgotten and where they are readily accessible to IGB Safety Personnel.  Peroxide formers should be checked for peroxides every six months after opening.  Peroxide test strips are available through IGB Safety Personnel or can be purchased from the RAL Storeroom.  Peroxide formers should also be checked prior to performing distillations or evaporations.  Concentrations of <100 ppm are generally acceptable, except for planned solvent evaporation experiments.  Concentrations >100ppm should be disposed of through DRS chemical waste management.
  7.  
Mal-odorous Compounds 
Precautions should be taken when working with mal-odorous compounds.  Always notify IGB Safety Personnel before using mal-odorous.  Minimize the quantity of material and time the container is open.  Maintain the chemical and contaminated material in a sealed container.   Always use mal-odorous compounds in a properly functioning chemical fume hood.  Keep lab windows and doors closed to maintain proper chemical fume hood air flow.
    8.  
Noxious Gases 
Noxious gases and irritating odors can be swept back into the laboratory through open sink drains.  This is due to a lower internal pressure maintained in laboratories as compared to outside pressure.  Two things can be done to avoid this problem:

a.       Keep all sink traps (including cup sink traps) filled with water by running water (approx. one gallon) down the drain monthly.

b.       Do NOT utilize the sink for waste disposal.

     9.   
Personal Protective Equipment (PPE)


Compounds can enter the body by being absorbed through the skin, inhaled, or ingested.  Identify and utilize the proper PPE for the task to avoid chemical exposure.  Contact IGB Safety Personnel for PPE selection advice.  
    10.  
Minimization of Hazardous Waste
Minimizing wastes also minimizes safety hazards.  Utilize the following guidelines to reduce hazardous waste:
· Scale reactions to minimize the amount of required materials

· Substitute less hazardous materials whenever possible

· Periodically inspect the inventory of chemicals and dispose of unwanted or unusable items

· Purchase only the quantity needed.  Before ordering from an outside vendor, check your supplies and refer to the DRS ChemTracking database
· Eliminate or reduce the use of:  chromic acid cleaning solutions, heavy metals, and halogenated solvents if possible
    11.  
Chemical Storage
a.       Segregation of Chemicals
Chemicals should be kept separated by hazard class whenever possible to avoid unwanted reactions.  Recommended hazard classes for chemical separation include:  acids, bases, flammables, oxidizers, and reactives.
Physical separation (separate cabinets, storage containers, etc.) is the preferred method of storage.

Laboratories with large numbers of hazard classifications may choose to further segregate mineral/organic acids, unstable compounds, heat sensitive compounds, gases, etc.

b.      Flammable Liquid/Solvent Storage
Solvent storage in a laboratory is limited.  Large quantities of solvents, whether new, recycled, or waste must be stored in non-breakable containers (Jerricans or fireproof containers).  Flammable solvents stored outside of a flammable storage cabinet should not exceed a total volume of 10 gallons.
Flammable materials must be stored in appropriate, labeled containers, in safety cans or Department of Transportation (DOT) approved containers.  If in a substantial amount, waste solvents should be stored in polyethylene Jerricans.  Waste halogenated solvents may not be stored in metal safety cans due to corrosion.

c.       Chemical Containers
Check the integrity of containers.  Review the compatibility between the container and its contents.  For example, hydrofluoric acid must not be stored in glass and some oxidizers should not be stored in plastic containers.

University of Illinois Chemical Safety recommends using separate polyethylene Jerricans for collecting halogenated and non-halogenated waste solvents in the labs.  Polyethylene Jerricans and containers should be dated upon purchase as they become brittle with age.  Usage of polyethylene Jerricans and containers becomes questionable after three years.   Be aware that steel safety cans frequently get plugged from solid materials and eventually rust through.  Glass bottles are easily broken and are not a preferred storage container.  If glass bottles are used and stored on the floor, they must be kept in secondary containment.  They should not be stored in a sink.
d.      Volatile Toxic Substances
Volatile toxic substances shall be stored in volatile storage cabinets adequate to the purpose, or in/below hoods when cabinets are unavailable.  When volatile compounds must be stored in a cooled atmosphere, flammables refrigerators, explosion-proof refrigerators or cold rooms designed for this purpose must be used. 

12.   
Chemical Waste Disposal

Campus chemical waste disposal is managed by DRS, Chemical Safety Section (CSS) utilizing the UIUC Chemical Waste Management Guide.  Refer to links/contacts page for more information.  NOTE:  all chemicals, including those that are non-hazardous, can NOT be disposed of in the trash.  
a.       Regulations
The Environmental Protection Agency (United States and Illinois) and the Resource Conservation Recovery Act (RCRA) regulations mandate that hazardous waste be properly and clearly labeled, containers maintained closed when not actively adding waste, and properly disposed of in a timely manner.  When hazardous waste containers are stored near sinks, secondary containment must be utilized.
b.      Chemical Waste

Discard waste chemicals into labeled, closable (screw cap for liquids), waste containers.   Solid and liquid wastes should be kept in separate containers and wastes should be further separated by their compatibility (i.e. oxidizers, acids, bases, solvents, halogenated solvents, etc.).  Solvent wastes and aqueous acidic wastes can be collected separately in Jerricans, but other wastes should be collected in disposable containers.  Labels should clearly identify the contents of the waste container and include the word “waste”.  Examples:

        Waste acetone

        Waste hydrochloric acid, water, sodium sulfate, and lead acetate

If a generic label is used i.e. “Waste halogenated solvents”, a ledger must be maintained that records the contents of the container (required by EPA). See information under “Solvent Waste” for details regarding disposal of solvent mixtures.

Refer to the UIUC Chemical Waste Management Guide for an overview of what is considered hazardous waste.  Some chemicals are not classified as hazardous, but are still toxic (i.e. ethidium bromide).  These chemicals should also be disposed of using the UIUC Chemical Waste Management Guide. 

 DRS picks up chemical waste submissions.  The process consists of the following steps:

1) Waste generator (user) submits pickup request forms to DRS. (Use campus mail address on forms)

2) DRS mails self-adhesive labels for waste containers.

3) Generator attaches labels and places waste containers in a pre-arranged location.

4) DRS picks up the containers and properly processes/disposes of them.
Waste submittal forms are online.  For online forms see the links/contacts page.
c.       Solvent Waste
Special handling and disposal methods are required.
Solvent Wastes Must:
· Have a pH between 2 and 12.5 with minimal content of solids and water.

· Be inventoried properly and transferred safely to avert spills and compatibility concerns.

· Be discarded promptly.  Excessive volumes should not be accumulated.
· Contain no radioactive, highly carcinogenic, or highly toxic substances.

· Be segregated into halogenated and non-halogenated waste streams.
· Maintain recyclable waste oil free of solvents or PCB (polychlorinated biphenyl) contaminants.
  


Solvent Waste Containers
Solvent waste containers (jerricans, polyethylene bottles) must be labeled clearly identifying the contents of the container and include the word “waste”, ex. “waste halogenated solvent”.  In addition, solvent waste containers must be maintained closed when not actively adding waste.  Color coded label tags are available in the RAL Storeroom.
Disposal

See the campus Chemical Waste Management Guide for disposal guidelines.
13.   
Working with Methylene Chloride or Dicloromethane (DCM)
In May of 2024, the Environmental Protection Agency (EPA) issued a final rule under the Toxic Substances Control Act (TSCA) for Methylene Chloride, also known as Dichloromethane (DCM), and the resulting regulation went into effect in July 2024. This regulation stems from the EPA’s evaluation that the use of DCM presents an unreasonable risk of injury to health due to acute human lethality.

This regulation places DCM on the EPA’s regulatory list and restricts its use for many industries and applications including the Laboratories in IGB. This rule does not ban the use and handling of DCM in research laboratories. However, laboratory use is permitted only when covered by a compliant Workplace Chemical Protection Program (WCPP)
The campus Division of Research Safety DRS has implemented a program to assist laboratories in their ability to comply with these new rules.  It is recommended that laboratories explore alternatives to the use of DCM.  However if there is no alternative you will be required to contact DRS and implement the safe work practices required by this rule.  You can review the DRS program at the following Link.

https://www.drs.illinois.edu/Page/SafetyLibrary/methylenechloride 
D.   Guidelines for Emergency Procedures

OVERVIEW

Prevention of serious injury and property damage is of utmost priority.  This can be accomplished by minimizing laboratory hazards and by utilizing proper handling procedures.  However, emergency situations will still arise.  Prior to an emergency all lab personnel should know the location of safety equipment in or near their laboratory and should review the emergency plan established for the lab.  Although few staff members, students and visitors are capable of dealing with emergency situations to completion, all must understand the basics of:

         Assessing and evaluating an emergency situation, and 

         Securing the appropriate level of assistance (EMTs, Fire Department, Police, etc).
Professional help (Emergency Medical Technicians, Fire Department, Police, etc.) is the best means of handling serious emergencies.  Until the arrival of professional help, isolate the hazard as much as possible.  First aid may be provided by anyone willing to assist provided they are knowledgeable with concern to the associated hazards (i.e. exposure to the situation, the injured individual(s) blood/body fluids, etc.).

NOTE:  Not all staff members are trained in first aid practices. Training is made available through the campus group Illini EMS.  Providing first aid where needed is NOT a condition of employment due to the associated risks.

Emergency Situations:
1.
Alert Other People Immediately!

2.
Injuries:
       
a.  Get medical attention immediately.  If necessary, call 9-911 from campus phones or 911 from all other phones.
b.  Answer all operator questions thoroughly and completely.  Inform the operator if biological or radioactive materials are involved in the incident.
c.   Send someone to meet emergency response personnel at the nearest street-side entrance.

If Providing First Aid:

· Obtain consent from victim, if possible
· Ensure caregiver safety is not in jeopardy
· Caregiver should be knowledgeable in treatment methods and associated hazards
 3.   
Serious Wounds 
Serious wounds should only be treated by a doctor.
  4.   
Small Burns
Small burns should be treated with cool water.  Do not use oils, powders, etc.

  5.   
Inhalation of Noxious Gases
If inhalation of noxious gases is suspected, quickly remove the victim from the area into fresh air and call 9-911 (from campus phones).  Provide oxygen if available.
  6.   
Ingestion of Poisonous Chemicals
If poisonous chemicals have been ingested, call 9-911 (from campus phones) and seek medical help immediately.  Do not induce vomiting unless directed by medical personnel.
  7.   
Skin Contact with Aggressive Chemicals
Upon skin contact with aggressive chemicals, use a faucet or safety shower to wash the affected area for 15 minutes.
Contaminated clothing should be removed immediately.  If modesty is a concern, cover with clean apparel, towels, blankets, etc., and minimize personnel in affected area.

 8 .  
Eye Contact with Laboratory Chemicals   
Upon eye contamination with laboratory chemicals use the eyewash to rinse copiously with water for 15 minutes.

 9.   
Bloodborne Pathogens
Care should be taken when dealing with blood and bodily fluids.  Bloodborne pathogens (e.g., HIV and Hepatitis) can live in a pool of blood for weeks.  The best person to clean up the blood is the person who bled.  Otherwise, an individual trained in the handling of bloodborne pathogens should be responsible for cleaning up the blood.  Should you decide to perform the cleanup; secure the area, wear gloves and eye protection, contain cleanup materials in plastic bags, disinfect the area with bleach, and dispose of all materials according to proper procedures.  Contact IGB Safety Personnel for cleanup contact assistance.
   10.  
Accident Reporting



All injuries and/or accidents must be reported.  Contact IGB Safety Personnel to obtain appropriate forms.
   11.  
 Mercury Spills and Cleanup
The IGB discourages any use of Mercury in the IGB labs.  Substitutes (e.g., alcohol thermometers and electronic vacuum detectors) should be used whenever possible.  Spill clean up methods are determined by the quantity of mercury spilled.  Small spills can be managed by using the spill kits in the IGB theme labs or by aspirating mercury droplets into a suction flask.  If aspirating the mercury, the mercury can be transferred to another container for disposal.  For large quantity spills or where the spill has contaminated a large area, quarantine the area to prevent further contamination (shoes, equipment, etc.).  Contact IGB Safety Personnel to coordinate the mercury clean up with Facilities and Services mercury cleanup crews.  Do not use sulfur to coat the mercury or use nitric acid to dissolve the mercury, since either method will greatly complicate disposal.  Contaminated materials used to clean up the mercury spill should be collected and sealed in a bag.  To dispose of the materials or a container of mercury, follow the instructions for chemical waste disposal described in the UIUC Chemical Waste Management Guide.  
    12.  
Chemical Spill Cleanup
a.
Personal safety
For large spills or extremely toxic releases call 9-911 and evacuate the area by activating the fire alarm pull station.  Meet emergency responders outside the loading dock to provide information to them.

For small spills that you can clean up yourself, wear appropriate personal protection (gloves, goggles, etc.) as needed.




Spill kits, which include goggles and gloves, are located in all IGB theme labs.
b.
Containment of the spill
For solvents, be sure to eliminate potential sources of ignition.  Close lab doors and windows to enable chemical fume hood exhaust and general room exhaust to ventilate the area.  Gently place absorbent pads on the spill.  Allow spill pads to absorb the spill.
c.
Cleanup
 Place the spill absorbent into a plastic bag (available in the spill kits) or other appropriate container.  Seal and label the container.  Consult the UIUC Chemical Waste Management Guide concerning chemical spill disposal. 

    13. 
Fire 
In the event of a large fire, the building should be evacuated by activating the fire alarm at the pull station.  Pull stations are located throughout the IGB building, primarily near exits.  The fire alarm pull will set off continuous buzzers throughout the building, signal occupants to leave the building, and notify emergency response personnel.
              Laboratory personnel may attempt to extinguish small fires if:
·  Personal safety is not in jeopardy

·  Personnel are properly trained concerning fire fighting equipment and its appropriate use

· Appropriate fire fighting equipment is available
If the fire grows or becomes unmanageable, activate the nearest fire alarm pull. Meet the fire department at the shipping/receiving dock to provide them to them detailed information..
    14.   Tornado

The campus is equipped with an alarm system to warn of impending tornadoes.  When the tornado alarm has sounded, or there are other indications of a tornado, move to the tornado shelter in the concourse of the IGB.  If it is not possible to move from currently occupied space before a tornado strikes; move away from the windows and crouch beneath a desk or sturdy table.
E.    Emergency Equipment

  1.    
Safety Showers and Eyewashes
Familiarize yourself with locations of safety showers in your area. Eyewashes are located at each handwashing sink throughout IGB building labs.  Eyewashes and safety showers should be flushed on a regular basis.   Safety showers and eyewashes will be flushed twice annually by maintenance personnel.  Do not hesitate to use showers and eyewashes.
      2.  
Fire Alarms

Fire alarms are used to indicate mandatory building evacuation and as a notification to the fire department.  Building evacuation may be needed in the event of:  fires, chemical spills, gas leaks, and other hazards.
   3.   
Fire Extinguishers
Fire extinguishers are available throughout the IGB. Familiarize yourself with their locations in your word area.  If discharged, contact IGB Safety Personnel to get the extinguisher replaced.  A spare extinguisher may be checked out from IGB Safety Personnel until the extinguisher is returned.  Choosing the correct type of extinguisher is critical to effectively extinguish a fire.  Review the following classes to determine which type of fire extinguisher is appropriate.  All IGB extinguishers are class ABC.
· Class A Fires
Class A fires involve combustible solids such as paper and wood items which leave an ash.  Typical extinguishers for Class A fires include water, CO2, halon, and dry chemical.  Associated problems with these fires are destructive distillation that results in flaming vapors and toxic gases, hot ash, and residue capable of re-ignition.

· Class B Fires
Class B fires involve flammable liquids.  Typical extinguishers include CO2, halon, and dry chemical.  Caution:  Compressed gas may spread and/or worsen fire if force from the extinguisher is excessive.
· Class C Fires
Class C fires involve Class A (combustible solids) and Class B (flammable liquids) fires as well as electrical equipment.  Typical extinguishers include CO2, dry chemical (may result in equipment damage), and halon.  Caution:  Due to possible electrical shock, de-energize the circuit prior to fighting the fire.

· Class D Fires
Class D fires are those involving reactive metals (Li, Na, K, Mg, etc.) and active hydrides (NaH, KH, LiAlH4, etc.).  Typical extinguishers and control methods include inert powder (Ansul Metal-X, sand, talc, alkali metal salts) and Metal-X extinguishers.
4.  First Aid Kits and Spill Kits

First aid kits and spill kits are available in the theme labs.  Familiarize yourself with the kits and instructions provided in the kits for emergency response.
  …..
F.
 Carcinogens, Reproductive Toxins and Acutely Toxic Chemicals

When handling genotoxins, reproductive toxins and chemicals with a high degree of acute toxicity, special precautions are needed in addition to the general safety guidelines mentioned throughout the Chemical Hygiene Plan.  Precautions designed to minimize risk of exposure to these substances are listed below.  Additional precautions may be warranted as well.
· Quantities of these chemicals used and stored in the laboratory should be minimized, as should their concentrations in solution or mixtures.

· Work with genotoxins, reproductive toxins and acutely toxic chemicals should be performed within a functioning chemical fume hood (see section III, B, 10), ventilated glove box, sealed system, or other system designed to minimize exposure to these substances.  (The exhaust air from the ventilation systems may require scrubbing before being released into the atmosphere).  In all cases, work with these types of chemicals shall be done in such a manner that the Occupational Safety and Health Administration's (OSHA) permissible exposure limits or similar standards are not exceeded.

· Compressed gas cylinders which contain acutely toxic chemicals, such as arsine and nitrogen dioxide are required to be kept in ventilated gas cabinets.  

· The ventilation efficiency of the designated chemical fume hood, glove box or gas cabinet, and the operational effectiveness of mechanical and electrical equipment used to contain or manipulate these special substances should be evaluated periodically by the laboratory personnel at intervals determined by the laboratory supervisor.  The interval of evaluating systems may vary from weekly to biannually depending upon the frequency of usage, quantities employed and level of hazard.

· Each laboratory utilizing these substances must designate an area for this purpose and must sign or mark this area with an appropriate hazard warning.  The designated area may be an entire laboratory, an area of the laboratory or a device such as a chemical fume hood or glove box.  The designated area should be marked with a DANGER, specific agent, AUTHORIZED PERSONNEL ONLY or comparable warning sign (see section III, A, 13).
· All laboratory workers who work in a laboratory which has an area designated for use with genotoxins, reproductive toxins and acutely toxic chemicals must be trained about the deleterious effects of these substances as well as signs and symptoms regarding exposure to these substances, whether or not they actually work with the substance themselves.  Training to ensure the safe handling and storage of these substances is required for those who use these materials.  This training is the responsibility of the laboratory supervisor and must be done prior to the use of any of these materials.  For further information see section III, A, 12, Reproductive Health and Safety.
· Laboratory workers working with these chemicals must have access to appropriate protective equipment and clothing (available at no expense to the workers) and must be trained on how to properly utilize the safety equipment.  For example, when working with highly toxic gases, it is often recommended that the workers have self-contained breathing apparatus available, and be trained by the Urbana Fire Department on their use (see section III, A, 2).
· Detection equipment may be required in laboratories where chemicals (especially poisonous gases) with a high degree of acute toxicity are utilized.

· All wastes contaminated with these substances should be collected and disposed of in a timely manner and appropriately as outlined in the University of Illinois at Urbana-Champaign (UIUC) Chemical Waste Management Guide (see links/contacts page).  For further assistance with these types of chemical waste, contact IGB Safety Personnel.
· The designated working area shall be thoroughly and appropriately decontaminated and cleaned at regular intervals determined by the laboratory supervisor.  The interval may be as short as one day or as long as six months depending upon the frequency of usage and level of hazard.

· Special precautions to avoid release and exposure to highly toxic chemicals, genotoxins, and reproductive toxins must be utilized.  For instance, volatile substances should be kept cool and contained, gases should have properly functioning valves, check valves, regulators, containment which can withstand pressure buildup, and appropriate piping. Dispersive solids should be kept in closed containers, used in places with minimum air currents, and appropriate contact materials should be used to avoid static charging.

· Emergency response planning for releases or spills shall be prepared by the lab supervisor and included in the training of the laboratory workers and others who may be affected in the building.  DRS and the Urbana Fire Department should be involved in this planning.
G.   Employee Information and Training

All individuals working in laboratories that may be exposed to hazardous chemicals must be apprised of the hazards of chemicals present in their work area.  THIS INFORMATION AND TRAINING ON THESE TOPICS MUST BE PROVIDED BEFORE INITIAL ASSIGNMENT AND BEFORE NEW EXPOSURE SITUATIONS.  Equipment necessary for the safe handling of hazardous substances must also be provided. 

Upon request by Departments or other administrative units, the Division of Research Safety (DRS) personnel will, from time to time, give presentations concerning general lab safety practices. For more information on DRS on-line training, refer to the links/contacts page.  However, training specific for the particular lab where an employee is assigned is the responsibility of that employee's supervisor.  The frequency of refresher information and training shall also be determined by the supervisor.
A.   Information

Laboratory workers shall be informed of the location and availability of the following:

· 29 CFR Part 1910.1450 "Occupational Exposures to Hazardous Chemicals in Laboratories" (the Occupational Safety and Health Administration (OSHA) Lab Standard).
· This Chemical Hygiene Plan.
· Reference materials on chemical safety, including Material Safety Data Sheets (MSDSs) must be immediately available.

· Permissible exposure limits (PEL) for OSHA regulated substances, or if there is no applicable OSHA standard, the recommended exposure limits or threshold limit value (TLV) may be provided.

· Signs and symptoms associated with exposure to the hazardous chemicals found in the lab.
B.   Training

Laboratory worker training in the Institute for Genomic Biology includes:
· The information provided in this Chemical Hygiene Plan

· DRS General Lab Safety Training and the IGB Safety Training and Exam, which must be taken prior to the commencement of laboratory work

· Information found on the links/contacts page at the end of this document

· Consultation with the Division of Research Safety
Additional topic specific training can be provided by contacting IGB Safety Personnel for more information.


1-16-2025

